# Importing and exporting images from PACS using MicroDicom

# Exporting DICOM files from PACS

- Open the MicroDicom Application on Citrix

- Select Network → Download from DICOM server…

- In the top left of the resulting window ensure that KGH PACS is selected

- Select the Patient or Patient ID tab in the upper right, enter the appropriate query details and click “Search”.

- Identify the appropriate study from the list that appears and click “Download”

- The typical “downloading window will appear.  Note It can take several minutes to download the study.

Notes:

- Result Columns can be re-sized and re-ordered, but settings do not appear to be sticky.

- Modality sorting works, but Date sorting does not.

- Results are shown by Study - cannot sub-select a series

- Click row to select (Shift and Ctrl work for multi select)

- Right-click on selection → Download

- Download progress window appears.

- Takes 2-3 min to download a series

- Files are saved without the usual .dcm extension

- Unwanted series can be removed:

  - Right-click on series → Remove → Delete